Department of Materials Engineering

PROJECT PLANNING SHEETS - Hazard assessment and control guide

The purpose of the project planning sheets is to assess the hazards of a research project and determine suitable control measures to protect against the hazards. This guide provides a summary of laboratory hazards and some suggested ways to control them. Not all measures are required, just ones appropriate to the hazards you identify. Control measures not listed may also be implemented. A project planning sheet must be completed before a research project is started. One set of project planning sheets is required for the main project that a graduate student, PDF, etc. will undertake at the outset of his/her studies/work. One new set of project planning sheets is required for each distinct project. The initial project planning sheets may be submitted with the rest of the safety training documents, or if the project is not yet well defined, any time prior to starting the project. Students/staff should complete the project planning sheets in consultation with their supervisor or his/her designate. They must be reviewed and signed by the supervisor or his/her designate.

As identified in the SRS Chemical Safety course there are different classes of hazard controls: elimination/substitution; engineering controls; administrative controls, and; personal protective equipment. Understand the principles associated with these types of control.

There are four particularly dangerous chemicals that may be used in the department which have special restrictions and requirements:

- Hydrofluoric acid

- Perchloric acid

- Picric acid

- Liquid nitrogen

There are standard operating procedure documents for these on mtrl.ubc.ca. Supervisors must provide the specified training and facilities for use of these chemicals. Indicated restrictions must be followed.

The following also pose significant hazards with specified procedures and requirements:

- Preparation of nital etchant (nitric acid + ethanol)

- Peroxidizable chemicals (potential explosion hazard)

- Use of compressed gases (may not be used without specific training)

There are standard operating procedure documents for these as well on mtrl.ubc.ca.

The guidelines below were developed by UBC SRS.

# UBC HAZARD CONTROL ASSESSMENT GUIDE

If a hazard exists, there is a means of controlling it.

Note: Reference to procedures means specific procedures for materials/equipment/processes being used and includes relevant training.

- Legend for abbreviations at end of table on page 2

| Type of Hazard | UBC Procedure or Relevant Reg. | Hazard Control |
| --- | --- | --- |
| Hazardous materials used and stored hazards identified (e.g. flammability, toxicity, reactivity) Potential significant inhalation exposures assessed | BC WCB Occupational Health and Safety Regulation (WCB OHSR); WHMIS; BC Fire Code; UBC Laboratory Chemical Safety Course Manual | Substitute/minimize Use of fume hoods Install monitoring and alarm equipment Use of appropriate containers & storage units; Use of appropriate labels & MSDS available (WHMIS) Develop appropriate handling, disposal and emergency procedures Develop appropriate signage and training procedures Use of appropriate PPE |
| Compressed gas used or stored | BC WCB OHSR; BC Fire Code; BC Gas Safety Act | Use minimum quantities in lab or shop Use appropriate means for securing and transporting Install monitors, alarms and signage as required Develop written work and emergency procedures; Ensure appropriate training is conducted |
| Potentially violent reaction via: Rapid decomposition Impact sensitivity Instability on storage to cold, heat, light, water, metals, etc. Mischarge or wrong addition order Quantity and rate of evolution of heat and gases water or air contact | WCB OHSR | Use of fume hoods Minimize quantities used; heat generated; other variables Isolate or shield areas Develop means of pressure relief Use of redundant controls; automatic shutdown mechanism Develop procedures to vent all parts of system before breaking any lines Use of appropriate storage areas Develop appropriate handling & emergency procedures Use of appropriate PPE |
| 4. Radioactive material(s) or source(s) used? | CNSC Regulations ; BC WCB OHSR; UBC Radionuclide Safety and Methodology Course Manual | Use of fume hoods Follow CNSC procedures Follow UBC Radionuclide Safety and Methodology Course procedures Develop appropriate emergency procedures Use of appropriate PPE |
| 5. Infectious or biohazardous material(s) used or handled? | BC WCB OHSR; WHMIS; CIHR Guidelines; UBC Biosafety Manual | Use of Biosafety cabinets and fume hoods Develop appropriate medical surveillance protocols Follow UBC protocols & procedures including emergency procedures Use of appropriate PPE |
| Catalysts, inhibitors, or contaminants (like iron) affect reactions? | BC WCB OHSR; WHMIS | Use of engineering controls Develop appropriate handling procedures Develop written procedures & training Develop appropriate emergency procedures |

| Type of Hazard | UBC Procedure or Relevant Reg. | Hazard Control |
| --- | --- | --- |
| Energy Sources/Failures Heating/cooling systems Power ( high voltage) Machinery Water; air Ventilation Automatic controls or equipment Pressure Materials/equipment/container integrity | BC WCB OHSR; UBC Lock-Out procedures; BC Electrical Code; BC Boiler & Pressure Vessel Code | Use of automatic shut-off system for: power temperature HVAC; ventilation; pressure, water and air supply systems (back-up system) Use of appropriate signage Use of lock-out procedures Develop appropriate handling & emergency procedures for fires/explosions and spills |
| Possible generation of : Unacceptable odour Air pollution, Excessive noise, Excessive heat, Sewer contamination | WCB OHSR; BC Special Waste & other Environmental Regulations | Consider substitution of hazardous materials Use of engineering controls: fume hoods PPE trap or back-flow preventor (1-way valve) Use of noise testing and absorption materials Use of a cooling system Use of a waste trap Develop appropriate emergency procedures |
| 9. Hazardous waste(s) generated | BC WCB OHSR; BC Special Waste & other Environmental Regulations | Use of appropriate containers for storage Develop written procedures & training Develop appropriate emergency procedures |
| Potential for impact of hazards of materials and process upset on neighbours, service, medical, emergency response personnel, etc. | BC WCB OHSR; BC Environmental Legislation | Notification of relevant personnel & organizations prior to incident Develop process for notification of relevant personnel & organizations post-incident Develop appropriate emergency procedures |
| Space for equipment, materials and experimental set-ups | BC WCB OHSR | Create adequate and appropriate space |
| Asbestos-containing material present. | BC WCB OHSR; UBC asbestos handling procedures | Conduct awareness training Develop reporting procedures Develop removal/substitution measures |

Legend:

- BC = British Columbia

- WCB = Workers’ Compensation Board

- WHMIS =- Workplace Hazardous Materials Information System

- PPE = Personal protective equipment

- CNSC = Canadian Nuclear Safety Commission

- CIHR = Canadian Institutes of Health Research

- GVRD = Greater Vancouver Regional District

- OHSR = Occupational Health & Safety Regulation