MTRL SEMI-ANNUAL LABORATORY INSPECTION CHECKLIST

Area or room #:_____________________________Date:__________________

Lab Manager / Supervisor:__________________________________________

Name(s) of inspector(s):_____________________________________________

## EMERGENCY and INFORMATION MATERIAL

1.	Emergency procedures leaflets posted and legible	YES _	NO _	N/A _

2.	Access to SDS information posted	YES _	NO _	N/A _

3.	Monthly inspections up-to-date	YES _	NO _	N/A _

4.	Fire extinguisher present and accessible	YES _	NO _	N/A _

5.	Fire extinguisher seal intact; date tested is current	YES _	NO _	N/A _

6.	Working alone policy posted	YES _	NO _	N/A _

Comments

## FIRST AID

- "First aid kit" name removed from self-treatment supplies?	YES _	NO _	N/A _

- "Treatment record sheet" name removed from records	                                            	of use of self-treatment supplies?	YES _	NO _	N/A _

- Emergency phone numbers posted at phone or in a 	YES _	NO _	N/A _

visible location (even if there is no land line)

10. 	This field blank

Comments

## PERSONAL PROTECTION

11.	Safety glasses available and worn	YES _	NO _	N/A _

12.	Laboratory coats available and worn	YES _	NO _	N/A _

13.	Substantial footwear worn	YES _	NO _	N/A _

14.	Facial shield available and in good condition	YES _	NO _	N/A _

15.	Respirator/dust mask user(s) trained & fit-tested yearly? 1	YES _	NO _	N/A _

16.	Vacuum ballasts/Dewar flasks protected.	YES _	NO _	N/A _

17. 	This field blank

Comments

HOUSEKEEPING

18.	Bench tops and sink areas tidy	YES _	NO _	N/A _

19.	Tripping hazards absent, passageways clear	YES _	NO _	N/A _

20.	Room exits clear (no obstacles to emergency evacuation)	YES _	NO _	N/A _

21.	Chipped or broken glassware not in use	YES _	NO _	N/A _

22.	Friable asbestos absent	YES _	NO _	N/A _

23.	Step-ladder available for out-of-reach items	YES _	NO _	N/A _

24.	Cracked/brittle/pinched tubing absent	YES _	NO _	N/A _

25.	Water hoses wired at all connectors	YES _	NO _	N/A _

26.	Are shelf units secured to the wall or each other if

free standing and >5 feet high?	YES _	NO _	N/A _ *

27. 	Lips/restraints on all shelves >4 feet above ground?	YES _	NO _	N/A _ *

* N/A means there are no shelving units in the area.

Comments

## ELECTRICAL APPARATUS

28.	Vacuum pumps stored safely and belts guarded*	YES _	NO _	N/A _

29.	Refrigerator spark-proof (or 'NO Flammables" sign

posted & flammables are absent)	YES _	NO _	N/A _

30.  	Frayed or cracked electrical cords absent	YES _	NO _	N/A _

31.	Extension cords properly secured and used (no excess

current draw, e.g. space heaters, multiple cords in series)	YES _	NO _	N/A _

32.	Make-shift wiring absent	YES _	NO _	N/A _

33. 	Emergency shut-offs tested annually/records kept, posted	YES _	NO _	N/A _

34. 	Equipment inspections performed on schedule & posted?	YES _	NO _	N/A _

*belts guarded applies only to belt-driven pumps.

Comments

## WASTE CONTAINERS

35.	"Broken Glass" refuse containers labelled	YES _	NO _	N/A _

36.	"Broken Glass" segregated from general refuse	YES _	NO _	N/A _

37.	Needles and sharps in "Sharps" container	YES _	NO _	N/A _

38.	Interim solvent waste containers closed and <1 litre *	YES _	NO _	N/A _

* If only 5 L or 20 L ESF-issued plastic solvent waste cans in use, N/A is best here. If no solvents in use, then N/A.

# Comments

COMPRESSED GAS CYLINDERS: (N/A__)

39.	Secured to wall or bench with belt or chain	YES _	NO _	N/A _

40. 	Lecture bottles stored upright or slanted/secure*	YES _	NO _	N/A _

* Small gas cylinders to which a regulator cannot be attached. Use is unadvisable as disposal is costly.

Comments

FUME HOODS: (N/A__)

41. 	Sash at or below recommended height and air flow on*	YES _	NO _	N/A _

42.	Area within and under hood tidy*	YES _	NO _	N/A _

* Fume hoods are fully contained and have a sash; overhead hoods, elephant trunks - not applicable.

Comments

CHEMICAL LABORATORIES: (N/A__)

43.	Chemical Safety Manual available, posted	YES _	NO _	N/A _

44.	Chemical inventory current (<1 year) and posted	YES _	NO _	N/A _

45.	Safety shower available and accessible	YES _	NO _	N/A _

46.	Eyewash available and accessible	YES _	NO _	N/A _

47.	Eye wash tested monthly (record on eyewash)	YES _	NO _	N/A _

48.	Solvent storage cabinet available and closed if >10 L

of flammables in room	YES _	NO _	N/A _

49.	Solvent containers closed	YES _	NO _	N/A _

50.	Solvent containers outside safety cabinet, < 10 L	YES _	NO _	N/A _

51.	Reagent chemicals stored securely (shelving OK; all chemicals

shelves have lips/restraints regardless of height off floor.)	YES _	NO _	N/A _

52.	Chemical containers intact.	YES _	NO _	N/A _

53.	Are highly toxic chemicals in secondary containments? 2	YES _	NO _	N/A _

54.	Lab labels compliant with WHMIS	YES _	NO _	N/A _

55.	Decanted/transferred chemicals have workplace labels? 3	YES _	NO _	N/A _

56. 	Are pre-2015 supplier labels being replaced with

workplace labels or WHMIS 2015 supplier labels? 3	YES _	NO _	N/A _

57.	Chemical labels intact, legible, not overwritten	YES _	NO _	N/A _

58. 	Equipment containing chemicals labeled with chemical

labels (contents, safe handling instructions, "See SDS").	YES _	NO _	N/A _

59.	Food and drink absent, including in office areas with a

common air space shared with the lab? 4	YES _	NO _	N/A _

60.	Carcinogens/Corrosives/Flammables labeled as such	YES _	NO _	N/A _

61.	Incompatible materials segregated 5	YES _	NO _	N/A _

62.	Dilute perchloric acid stored safely	YES _	NO _	N/A _

63.	Concentrated perchloric acid (70%) absent	YES _	NO _	N/A _

64.	ESF-issued aqueous/organic waste cans labeled (ESF tags)	YES _	NO _	N/A _

65.	Incompatible aq. or org. wastes segregated	YES _	NO _	N/A _

66.	Lab personnel are not mixing incompatible wastes	YES _	NO _	N/A _

67. 	Are there lab standard operating procedures available? 6	YES _	NO _	N/A _

68.	Is there a lab spill kit in place?	YES _	NO _	N/A _

69. 	Is there an inventory of peroxide-forming chemicals *? 7	YES _	NO _	N/A _

70. 	Are peroxide-forming chemicals checked for peroxides at 
	regular intervals and records kept and posted? 7	YES _	NO _	N/A _

* Isopropanol is also peroxidizable chemical.

# Comments

LASER LABORATORIES: (N/A__)

71.	Laser warning signs on door	YES _	NO _	N/A _

72.	Names of two current lab personnel on emergency sticker	YES _	NO _	N/A _

73.	Appropriate personal protection available and used	YES _	NO _	N/A _

# Comments

A follow-up inspection will be scheduled to check for corrections.

NOTES

1 If dusty/volatile and suitably toxic chemicals are in use, and there is no fume hood or other suitable ventilation facilities then respirators/dust masks are required. Users must be fit-tested annually. Records must be kept of fit testing. The lab safety person who attends the safety inspection MUST know if respirators are in use and if users are fit-tested. N/A applies only if respirators are not needed.

2 Highly toxic chemicals must be in secondary containments. These can be made of any sturdy material compatible with the chemical(s) and that is able to contain the total volume of all containers. Multiple containers of compatible chemicals can be stored in the same containment. Highly toxic chemicals include those of:

Tl, In

Pb

As, Sb, Bi

Se, Te

Cd, Hg

Cyanides, sulfides

Hydrofluoric acid

Others?

3 Workplace labels must contain, at a minimum:

The chemical name (in English text)

Safe handling instructions

The "See SDS" phrase.

WHMIS 2015 suppliers labels would be obtained from the vendor. Supplier labels apply to commercial chemicals, not lab-generated chemicals, nor samples provided by industry etc. Pre-WHMIS 2015 supplier labels need to be replaced with workplace labels or new supplier labels as the chemicals are removed from shelves and used. If a chemical sits on a shelf and is not used, then the label need not be replaced. If NO old chemical labels are getting replaced it suggests that labels are not being replaced.

Safe handling instructions may include (illustrative examples; not a comprehensive list; need not be identical wording):

For flammables: Avoid sparks, flames; Use in fume hood or with NIOSH approved respirator with organic cartridges.

For toxics: Wear eye, face and hand protection.

For volatile or dusty materials: use in a fume hood or wear NIOSH approve respirator with dust cartridges.

For sufficiently concentrated acids: Avoid contact with bases.

For sufficiently concentrated bases: Avoid contact with acids.

For oxidizers: Avoid contact with reductants.

For specific chemicals, e.g. sulfide, cyanide, sulfite etc. solutions: Avoid contact with acids

For combinations of hazards, e.g. most flammable materials will also be toxic, most corrosives and oxidizers will also be toxic: combine the safe handling phrases as appropriate.

RMS has templates for Workplace labels can also be used. An example is shown below:

PICTOGRAMS ARE OPTIONAL; Inapplicable pictograms would be obscured.

DATE IS OPTIONAL

4 Food/drink may not be consumed or stored in office areas that are not physically segregated from a lab area (walls and door); must also have an air supply separate from the lab.

5 Examples: strong acids + strong bases (concentrations >1 M); oxidizers and reductants; organic and inorganic chemicals; organic acids and oxidizing acids; sulfides, cyanides, sulfites etc. and strong acids which can give off toxic gases such as H2S, HCN, SO2, etc. (acid gases); ammonium salts and strong bases which can give off ammonia gas (basic gases); oxidizers must be segregated from all other chemicals.

6 SWPs are needed for equipment or procedures that have a risk of causing serious accidents or illnesses. Applicable hazards include: High force, high/low temperature, serious materials properties hazards (e.g. severe toxicity), radioactive materials, biohazards, electrical hazards. The hazards posed must be significant enough to be able to cause serious injury or illness. SWPs for specific pieces of equipment should be posted by the equipment. SWPs that are general (e.g. principles of chemical handling) need not be posted but should be part of safety training of personnel.

7 Peroxide-forming chemicals must be included in a separate inventory. They must be tested on a schedule (frequency depends on how serious the peroxide-forming hazard is). The test results must be recorded. Chemicals that test positive must be treated to destroy peroxides or be disposed of. Labs using peroxidiazble chemicals are required to follow the procedures outlined in the RMS Chemical Safety Manual. A list of peroxidizable chemicals is provided below.

| (2-Ethoxyethyl)-a-benzoyl benzoate | 4-Methyl-2-pentanol |
| --- | --- |
| 1-(2-Chloroethoxy)-2-phenoxyethane | 4-Penten-1-ol |
| 1-(2-Ethoxyethoxy)ethyl acetate | 4-Vinyl cyclohexene |
| 1,1,2,3-Tetrachloro-1,3-butadiene | Acetal |
| 1,1-Dimethoxyethane | Acetaldehyde |
| 1,2-Bis(2-chloroethoxyl)ethane | Acrylic acid |
| 1,2-Dibenzyloxyethane | Acrylonitrile |
| 1,2-Dichloroethyl ethyl ether | Allyl ether |
| 1,2-Diethoxyethane | Allyl ethyl ether |
| 1,2-Epoxy-3-isopropoxypropane | Allyl phenyl ether |
| 1,2-Epoxy-3-phenoxypropane | a-Phenoxypropionyl chloride |
| 1,3,3-Trimethoxypropene | b,b-Oxydipropionitrile |
| 1-Ethoxy-2-propyne | Benzyl alcohol |
| 1-Ethoxynaphthalene | Benzyl ether |
| 1-Octene | Benzyl ethyl ether |
| 1-Pentene | Benzyl methyl ether |
| 1-Phenylethanol | Benzyl n-butyl ether |
| 2,2-Diethoxypropane | Benzyl-1-napthyl ether |
| 2,4-Dichlorophenetole | beta-Bromophenetole |
| 2,5-Hexadiyn-1-ol | beta-Chlorophenetole |
| 2-Bromomethyl ethyl ether | Bis(2-(methoxyethoxy)ethyl) ether |
| 2-Butanol | Bis(2-chloroethyl) ether |
| 2-Chlorobutadiene | Bis(2-ethoxyethyl) adipate |
| 2-Cyclohexen-1-ol | Bis(2-ethoxyethyl)ether |
| 2-Ethoxyethyl acetate | Bis(2-methoxyethyl) carbonate |
| 2-Ethylacrylaldehyde oxime | Bis(2-methoxyethyl) ether |
| 2-Ethylbutanol | Bis(2-methoxyethyl) phthalate |
| 2-Ethylhexanal | Bis(2-methoxymethyl) adipate |
| 2-Hexanol | Bis(2-n-butoxyethyl) phthalate |
| 2-Methoxyethanol | Bis(2-phenoxyethyl) ether |
| 2-Methoxyethyl vinyl ether | Bis(4-chlorobutyl) ether |
| 2-Methyltetrahydrofuran | Bis(chloromethyl) ether |
| 2-Pentanol (isopropyl alcohol) | b-Isopropoxypropionitrile |
| 2-Phenylethanol | b-Methoxypropionitrile |
| 2-Propanol | Butadiene (gas) |
| 3-Bromopropyl phenyl ether | Butadiene (liquid monomer) |
| 3-Ethoxypropionitrile | Chloroacetaldehyde diethylacetal |
| 3-Methoxy-1-butyl acetate | Chloroethylene |
| 3-Methoxyethyl acetate | Chloromethyl methyl ether |
| 3-Methyl-1-butanol | Chloroprene |
| 4,5-Hexadien-2-yn-1-ol | Chloroprene (liquid monomer) |

| Chlorotrifluoroethylene | n-Butyl vinyl ether |
| --- | --- |
| Cumene | n-Hexyl ether |
| Cyclohexanol | n-Methylphenetole |
| Cyclohexene | n-Propyl ether |
| Cyclooctene | n-Propyl isopropyl ether |
| Cyclopropyl methyl ether | o,p-Ethoxyphenyl isocyanate |
| Decahydronaphthalene | o.p-Iodophenetole |
| Di(1-propynl) ether | o-Bromophenetole |
| Di(2-propynl) ether | o-Chorophenol |
| Diacetylene | Other secondary alcohols |
| Diallyl ether | Oxybis(2-ethyl acetate) |
| Dicyclopentadiene | Oxybis(2-ethyl benzoate) |
| Diethoxybenzene (m-,o-,p-) | p-(n-Amyloxy)benzoyl chloride |
| Diethoxymethane | p-Bromophenetole |
| Diethyl acetal | p-Chlorophenetole |
| Diethyl ether | p-Dibenzyloxybenzene |
| Diethyl ethoxymethylenemalonate | p-Di-n-butoxybenzene |
| Diethyl fumarate | p-Ethoxyacetophenone |
| Diethylene glycol dimethyl ether (diglyme) | Phenoxyacetyl chloride |
| Diethylketene | Phenyl-o-propyl ether |
| Dimethoxymethane | Potassium amide |
| Di-n-propoxymethane | Potassium metal |
| Dioxanes | p-Phenylphenetone |
| Divinyl acetylene | Sodium 8-11-14-eicosatetraenoate |
| Ethyl vinyl ether | Sodium amide (sodamide) |
| Ethyl-b-ethoxypropionate | Sodium ethoxyacetylide |
| Ethylene glycol dimethyl ether (glyme) | Styrene Vinylpyridine |
| Ethylene glycol monomethyl ether | tert-Butyl methyl ether |
| Heptanol | Tetrafluoroethylene (gas) |
| Isoamyl benzyl ether | Tetrafluoroethylene (liquid monomer) |
| Isoamyl ether | Tetrahydrofuran |
| Isobutyl vinyl ether | Tetrahydronaphthalene |
| Isophorone | Tetrahydropyran |
| Isopropyl ether | Triethylene glycol diacetate |
| Isopropyl-2,4,5-trichlorophenoxy acetate | Triethylene glycol dipropionate |
| Methoxy-1,3,5,7-cyclooctatetraene | uran |
| Methyl isobutyl ketone | Vinyl acetate |
| Methyl methacrylate | Vinyl chloride (gas) |
| Methylacetylene | Vinyl ethers |
| Methylcyclopentane | Vinylacetylene (gas) |
| m-Nitrophenetole | Vinyladiene chloride |
| n-Amyl ether | Vinylene carbonate |
| n-Butyl phenyl ether | Vinylidene chloride |

# Text boxes

Chemical Name:

Date: