# **MTRL Semi-Annual Classroom and Lecture Hall Inspection**

|  |  |
| --- | --- |
| **Building name and Room Number:** |   |
| **Name(s) of Inspector(s):** |  |
| **Date:** |  |

|  |  |  |  |
| --- | --- | --- | --- |
| **Emergency Equipment and Procedures** | **Y** | **N** | **N/A** |
| 1. Is emergency contact information – including the building’s street address – clearly posted in the immediate area?
 |  |  |  |
| 1. Are doorways, walkways and evacuation routes clear, are at least 2 feet / 60 cm wide?
 |  |  |  |
| 1. Are illuminated emergency exit signs visible and functional?
 |  |  |  |
| 1. Are fire extinguishers readily accessible, unobstructed, charged and inspected within the last year? Is signage present (if not clearly visible)?
 |  |  |  |
| 1. Are fire-alarm pull-stations accessible and unobstructed?
 |  |  |  |
| 1. Are emergency exit doors unobstructed and functional?
 |  |  |  |
| **Rooms** | **Y** | **N** | **N/A** |
| 1. Is the room is clean and tidy?
 |  |  |  |
| 1. Are floor surfaces maintained in a safe condition, with no slipping / tripping hazards?
 |  |  |  |
| 1. Are walls and ceilings safe and in good condition?
 |  |  |  |
| 1. Are steps/stairs/ramps in a safe condition with non-slip surface, and secure handrails where needed?
 |  |  |  |
| 1. Are doors, windows, locks and latches in good condition and in working order?
 |  |  |  |
| 1. Is the room comfortable? Not too hot or too cold?
 |  |  |  |
| 1. Is there adequate lighting (no more than 20% of lights burned out)?
 |  |  |  |
| 1. Is all furniture in good condition?
 |  |  |  |
| 1. Are light fittings and general fixtures in good condition and in working order?
 |  |  |  |
| 1. Is all AV / lighting equipment securely mounted?
 |  |  |  |
| **Additional Comments** |
|  |